# Kings College Baseball Development

## Backstop Fencing Requirements

### Main Backstop Fence 7m high

- 21m run of fencing in 3 sections at 135o from each other

- 7m high.

- Twin Wire 200 x 50 heavy duty 868 mesh construction

- Posts to be dug in

### Backstop Wing Fence

- 2 runs of fencing 10m each (20m total)

- From each end of Main Backstop fence

- 1.4m high

- Twin Wire 200 x 50 heavy duty 868 mesh construction

### Spectator Fencing

- 2 runs of fencing from each end of Backstop Wing Fence

- 20m each (40m total)

- 1.2m high

- with a solid top bar of 48mm diameter.

- This fencing and rail is designed for spectators to stand at and lean on, with safety in mind.

### Access Gates

- Two single swing gates

- One in each run of spectator fencing, at 1.2m high

- to provide access onto diamond.

### Quote Requirements

- Cost to include materials and labour for this to be completed in accordance with manufacturer’s recommendations.

- There is some flexibility on actual dimensions if they fit standard panel sizes better